Measurements of gamma spectra and dose rates depending on the gap size of a super conducting in-vacuum undulator

I.Birkel

ANKA/Institute for Synchrotron Radiation, Forschungszentrum Karlsruhe, Hermann-von-Helmholtz-Platz 1, 76344 Eggenstein-Leopoldshafen, Germany

Abstract

Beam lifetime and dose rate at ANKA are changing with the size of the gap of a super conducting in-vacuum undulator. Measurements of gamma spectra at beam energies from 1.8 GeV to 2.5 GeV show a dependence of the gamma spectra from the gap size of the undulator.